Centric View для TimeTable модуля Pump (с версии 0.20)

ВАЖНО: Теперь Index в запросе имеет дробный тип (для обычного представления Index – это индекс строки, а для представления CentricView Index – это время).

- Добавил обработчики команд для CentricView:

{'command':'tablesmain','additional':'add','config':{'id':'%id%'},'FieldId':'PUMP0__TimeTable', 'centricview':'true'}

{'command':'tablesmain','additional':'change','config':{'id':'%id%'}, 'centricview':'true','Index':1,'Parameters':{'PUMP0__TimeTable__Flow__Flow':'1'}}

{'command':'tablesmain','additional':'remove','config':{'id':'%id%'}, 'centricview':'true','Index':2,'FieldId':'PUMP0__TimeTable'}

{'command':'tablesmain','additional':'insert','config':{'id':'%id%'}, 'centricview':'true','Index':2,'FieldId':'PUMP0__TimeTable'}

- Возвращаю с каждым методом для TimeTable в тэге:

<CentricView>

<CentricViewRow>

<Index>1.5</Index>

<CentricViewField>

<Id>PUMP0__TimeTable__Pressure__Time</Id>

<Name>Time</Name>

<FieldType>spinedit</FieldType>

<Value>1.5</Value>

<Available>true</Available>

<FormattingInfos>

<Unit>min</Unit>

<Increment>0.01</Increment>

<DecimalPlaces>2</DecimalPlaces>

</FormattingInfos>

<Constraints>

<Limit>

<MinValue>0</MinValue>

<MaxValue>99999</MaxValue>

</Limit>

</Constraints>

</CentricViewField>

<CentricViewField>

<Id>PUMP0__TimeTable__Pressure__HighPressureLimit</Id>

<Name>Max. Pressure Limit</Name>

<FieldType>spinedit</FieldType>

<Value>600</Value>

<Available>true</Available>

<FormattingInfos>

<Unit>bar</Unit>

<Increment>0.01</Increment>

<DecimalPlaces>2</DecimalPlaces>

</FormattingInfos>

<Constraints>

<Limit>

<MinValue>0</MinValue>

<MaxValue>600</MaxValue>

</Limit>

</Constraints>

</CentricViewField>

<CentricViewField>

<Id>

PUMP0__TimeTable__SolventComposition__PumpChannel2_Percentage

</Id>

<Name>Percent B</Name>

<FieldType>spinedit</FieldType>

<Value>0</Value>

<Available>false</Available>

<FormattingInfos>

<Unit>%</Unit>

<Increment>0.1</Increment>

<DecimalPlaces>1</DecimalPlaces>

</FormattingInfos>

<Constraints>

<Limit>

<MinValue>0</MinValue>

<MaxValue>100</MaxValue>

</Limit>

</Constraints>

</CentricViewField>

<CentricViewField>

<Id>

PUMP0__TimeTable__SolventComposition__PumpChannel3_Percentage

</Id>

<Name>Percent C</Name>

<FieldType>spinedit</FieldType>

<Value>0</Value>

<Available>false</Available>

<FormattingInfos>

<Unit>%</Unit>

<Increment>0.1</Increment>

<DecimalPlaces>1</DecimalPlaces>

</FormattingInfos>

<Constraints>

<Limit>

<MinValue>0</MinValue>

<MaxValue>100</MaxValue>

</Limit>

</Constraints>

</CentricViewField>

<CentricViewField>

<Id>

PUMP0__TimeTable__SolventComposition__PumpChannel4_Percentage

</Id>

<Name>Percent D</Name>

<FieldType>spinedit</FieldType>

<Value>0</Value>

<Available>false</Available>

<FormattingInfos>

<Unit>%</Unit>

<Increment>0.1</Increment>

<DecimalPlaces>1</DecimalPlaces>

</FormattingInfos>

<Constraints>

<Limit>

<MinValue>0</MinValue>

<MaxValue>100</MaxValue>

</Limit>

</Constraints>

</CentricViewField>

<CentricViewField>

<Id>

PUMP0__TimeTable__SolventComposition__PumpChannel_Percentage

</Id>

<Name/>

<FieldType>label</FieldType>

<Value>100.0 %</Value>

<Available>false</Available>

<FormattingInfos/>

<Constraints/>

</CentricViewField>

<CentricViewField>

<Id>PUMP0__TimeTable__Flow__Flow</Id>

<Name>Flow</Name>

<FieldType>spinedit</FieldType>

<Value>0</Value>

<Available>true</Available>

<FormattingInfos>

<Unit>mL/min</Unit>

<Increment>0.001</Increment>

<DecimalPlaces>3</DecimalPlaces>

</FormattingInfos>

<Constraints>

<Limit>

<MinValue>0</MinValue>

<MaxValue>10</MaxValue>

</Limit>

</Constraints>

</CentricViewField>

</CentricViewRow>

</CentricView>